## Slide 1: Causality-Free Modeling of a Wind Turbine with Open-loop and Closed-loop Validation Results Kazi Mohsin, Mohammad Odeh, Tri Ngo, Tuhin Das
Department of Mechanical & Aerospace Engineering
University of Central Florida

## Slide 2: Presentation Outline
Modeling approach
Model overview
Validation & discussion
Conclusion & future work

## Slide 3: Modeling Approach
Control-oriented, Reconfigurable, and Acausal Floating Turbine Simulator (CRAFTS)
CRAFTS is built using an object-oriented, declarative, multi-domain modeling language Modelica
Acausal connection of components governed by mathematical equations
Features:
  Plug and play
  Reuse/swapping of model
  Increased composability
  User-friendly and computationally efficient to facilitate control co-design

## Slide 4: Modeling Overview

## Slide 5: Modeling Overview
 | Open Fast | CRAFTS
Wake/Induction Model | Dynamic BEM | BEM
Blade/Airfoil Model | Unsteady Polar | Static Polar
Dimension | 3D | 3D
Domain | System | System
Linear/Non-Linear Model | Non-linear | Non-linear

## Slide 6: Test Cases
TC 1.x: Rotor speed maneuvers
TC 2.x: Pitch maneuvers
TC 3.x: Turbine control for a variety of wind conditions

## Slide 7: Validation: TC 1.1
TC 1.1
,
Slight discrepancy at higher rpm for rotor torque.
Torque value of @

## Slide 8: Validation: TC 1.2
TC 1.2
,
Thrust value of @

## Slide 9: Validation: curves

## Slide 10
Pitching Maneuvers
Step inputs: 3
Ramp inputs: 2
No hysteresis effect
Validation: TC 2.x

## Slide 11
Validation: TC 3.x
Test cases:
TC 3.1: Stepped wind
TC 3.2: Wind gust
TC 3.3: Sinusoidal Wind
Controllers:
ROSCO controller

## Slide 12: Validation: TC 3.1–2
Plant: CRAFTS v/s OpenFAST
Controller: ROSCO

## Slide 13: Validation: TC 3.2
Time Domain Analysis
Similar rise, peak, settling time
Higher overshoot in OpenFAST
Plant: CRAFTS v/s OpenFast
Controllers: ROSCO

## Slide 14: Validation: TC 3.3
Sinusoid @
Plant: CRAFTS v/s OpenFAST
Controller: ROSCO

## Slide 15: Conclusions & Future Work
Control-oriented, Reconfigurable, and Acausal Floating Turbine Simulator (CRAFTS).
Validated against OpenFAST, an industry-standard platform, for several test cases.
Floating platform will be incorporated to model FOWTs.
Co-control design with individual pitch control, mooring line actuation, and multivariable robust control will be explored.